Conventional TEM and SEM specimen preparation instruments:

Fischione 1050 Ion Mill

Fischione 1040 Nano Mill

JEOL SM-09010 Cross Sectional SEM polisher

South Bay Tech Plasma Cleaner with Ar and O2

Dry Pumping stations for storage of holders

Allied High Tech polishing wheel for TEM specimens